CLS HYLO  IP67 Up & Down lighter

| Type | : | 20 Watt IP67 Up & Down lighter |
| --- | --- | --- |
| Colour | : | Blank aluminum or black |
| Material | : | Hard anodized CNC cut massive aluminum housing |
| Weight | : | 2300 gr |
| IP Rating | : | IP67 |
| IK class | : | X |
| Optics | : | Configurable: 12°, 30°, 61°, 12 x 46° or 120° beam angle. Possibility to have different beam angles for the up and down part |
| Light source | : | Lumileds High Power LED: 16x Luxeon T |
| Colour Temperature | : | 2700K, 3000K, 4000K, 5000K, 6500K, amber, blue, red & green. LED colour is configurable for both up and down part of the fixture |
| CRI | : | >80 |
| Drive current | : | 700mA |
| Driver | : | Built-in |
| Power factor driver | : | >0,92 |
| Dimming | : | Not possible |
| Remarks | : | Ventilation gland with Gore-Tex membrane fitted to avoid moisture and condensation. |
| Optional accessories | : | HYLO extended bracket |
| Connection | : | 200 cm cable with open end |
| Life time | : | Up to 50.000 hours |
| Warranty | : | 3 years warranty |
| Origin | : | Designed and manufactured in the Netherlands |