## BoQ
BILL OF QUANTITIES Ведомость объёмов материалов | MOCHOVCE NUCLEAR POWER PLANT M29B JOB - FIRE FIGTHING SYSTEMS UNIT 4 FOR NSWM, SWM AND WATER CURTAIN | BILL OF QUANTITIES Rev.00
ITEM CODE | ITEM CODE DESCRIPTION | UNIT | ESTIMATED QUANTITIES | UNIT RATE [EUR] | ESTIMATED AMOUNT [EUR]
MECHANICAL WORKS AT UNIT RATES WORK ITEMS | [5 empty] | 1 1
E-CIV8012.11 | PREFABRICATION OF MINOR CARBON STEEL STRUCTURES | KG | 5000 |  | 0 | 1 1
E-CIV8012.21 | ERECTION OF MINOR CARBON STEEL STRUCTURES OR MINOR HOT DIP GALANIZED STEEL STRUCTURES | KG | 46000 |  | 0 | 1 1
M016012.03 | PIPING ≤ 2": PREFABRICATION AND ERECTION OF HOT DIP GALVANIZED PIPING IN A106 GR.B, API 5L GR.B, A53 GR.B MATERIALS (CONNECTIONS: THREADED), INCLUDING ACCESSORIES ERECTION (STRAIGHTS PIPES AND FITTINGS SUPPLIED BY OWNER) | KG | 3000 |  | 0 | 1 1
M016014.08 | PIPING ≤ 2": PREFABRICATION AND ERECTION OF PIPING IN A312 TP 316/316L/316H STAINLESS STEEL MATERIALS (CONNECTIONS: THREADED), INCLUDING ACCESSORIES ERECTION (STRAIGHTS PIPES AND FITTINGS SUPPLIED BY OWNER) | KG | 55000 |  | 0 | 1 1
M026010.01 | INSTALLATION OF FIRE FIGHTING NOZZLES | PCS | 1750 |  | 0 | 1 1
M036011.20 | PIPING > 2": PREFABRICATION OF PIPING IN A106 GR.B, API 5L GR.B, A53 GR.B MATERIALS, DIAM. > 2" TO 4" | KG | 15000 |  | 0 | 1 1
M036011.21 | PIPING > 2": PREFABRICATION OF PIPING IN A106 GR.B, API 5L GR.B, A53 GR.B MATERIALS, DIAM. > 4" TO 10" | KG | 5200 |  | 0 | 1 1
M036012.24 | PIPING > 2": PREFABRICATION OF HOT DIP GALVANIZED PIPING IN A106 GR.B, API 5L GR.B, A53 GR.B MATERIALS, DIAM. > 2" TO 4" | KG | 14600 |  | 0 | 1 1
M036014.49 | PIPING > 2": PREFABRICATION OF PIPING IN A312 TP 316/316L/316H MATERIALS, DIAM. > 2" TO 4 | KG | 1500 |  | 0 | 1 1
M046011.30 | PIPING > 2": ERECTION OF PIPING IN A106 GR.B, API 5L GR.B, A53 GR.B MATERIALS, EXCLUDING PIPING ACCESSORIES, DIAM. > 2" TO 4" | KG | 15000 |  | 0 | 1 1
M046011.31 | PIPING > 2": ERECTION OF PIPING IN A106 GR.B, API 5L GR.B, A53 GR.B MATERIALS, EXCLUDING PIPING ACCESSORIES, DIAM. > 4" TO 10" | KG | 5200 |  | 0 | 1 1
M046012.34 | PIPING > 2": ERECTION OF HOT DIP GALVANIZED PIPING IN A106 GR.B, API 5L GR.B, A53 GR.B MATERIALS, EXCLUDING PIPING ACCESSORIES, DIAM. > 2" TO 4" | KG | 14600 |  | 0 | 1 1
M046014.59 | PIPING > 2": ERECTION OF PIPING IN A312 TP 316/316L/316H MATERIALS, EXCLUDING PIPING ACCESSORIES, DIAM. > 2" TO 4 | KG | 1500 |  | 0 | 1 1
M186190.10 | INSTALLATION OF EQUIPMENTS (TANKS, PUMP SKIDS, ETC.) | KG | 10000 |  | 0 | 1 1
M196190.40 | INSTALLATION OF THREADED OR FLANGED PIPING ACCESSORIES (PIPELINES COMPONENTS: MISCELLANEAOS VALVE, Y FILTER, EXPANSION JOINT, TEMPORARY FILTER, ETC.) FOR PIPING OF DIAM. > 2" TO 4" | KG | 5000 |  | 0 | 1 1
M196190.63 | INSTALLATION OF PIPING ACCESSORIES (PIPELINES COMPONENTS: MISCELLANEAOS VALVE, Y FILTER, EXPANSION JOINT, TEMPORARY FILTER, ETC.) IN STAINLESS STEEL MATERIAL FOR PIPING OF DIAM. > 2" TO 4" | KG | 4000 |  | 0 | 1 1
M196190.64 | INSTALLATION OF PIPING ACCESSORIES (PIPELINES COMPONENTS: MISCELLANEAOS VALVE, Y FILTER, EXPANSION JOINT, TEMPORARY FILTER, ETC.) IN STAINLESS STEEL MATERIAL FOR PIPING OF DIAM. > 4" TO 10" | KG | 2000 |  | 0 | 1 1
VER8115.01 | SURFACE PREPARATION BY MECHANICAL/MANUAL BRUSHING OF ST3 GRADE | M2 | 300 |  | 0 | 1 1
VER8115.02 | SURFACE PREPARATION BY SANDBLASTING OF SA2,5 GRADE | M2 | 700 |  | 0 | 1 1
M298821.01 | DISMANTLING OF PIPING AND RELEVANT ACCESSORIES | KG | 3000 |  | 0 | 1 1
M298822.01 | DISMANTLING OF ACCESSORIE AND EQUIPMENTS | KG | 500 |  | 0 | 1 1
M298823.01 | DISMANTLING OF STEEL STRUCTURES | KG | 2000 |  | 0 | 1 1
M298871.11 | RADIO / GRAMMAGRAPHS TESTS FOR BUTT-WELDS JOINTS | PCS | 200 |  | 0 | 1 1
M298871.20 | ALTERNATIVE TESTS FOR ANGLE JOINTS DIAM. > 2" TO 4" | PCS | 300 |  | 0 | 1 1
M298871.21 | ALTERNATIVE TESTS FOR ANGLE JOINTS DIAM. > 4" TO 10" | PCS | 50 |  | 0 | 1 1
M298871.24 | ALTERNATIVE TESTS FOR BUTT-WELD JOINTS DIAM. > 2" TO 4" | PCS | 300 |  | 0 | 1 1
M298871.25 | ALTERNATIVE TESTS FOR BUTT-WELD JOINTS DIAM. > 4" TO 10" | PCS | 50 |  | 0 | 1 1
| PROVISIONAL SUM OF MECHANICAL WORKS AT UNIT RATES WORK ITEMS |  |  | EURO | 0 | 1 1
ELECTRICAL AND I&C WORKS AT UNIT RATES WORK ITEMS | [5 empty] | 1 1
ELE6511.03 | INSTALLATION OF RIGID STEEL CONDUITS WITH NOMINAL DIAMETER UP TO 25MM, INCLUDING SUPPORTS | M | 1400 |  | 0 | 1 1
ELE6511.05 | INSTALLATION OF RIGID STEEL CONDUITS WITH NOMINAL DIAMETER > 25 TO 50MM, INCLUDING SUPPORTS | M | 2800 |  | 0 | 1 1
ELE6511.07 | INSTALLATION OF RIGID STEEL CONDUITS WITH NOMINAL DIAMETER > 50 TO 80MM, INCLUDING SUPPORTS | M | 800 |  | 0 | 1 1
ELE6515.03 | INSTALLATION OF ADPE FLEXIBLE METAL CONDUITS WITH DIAMETER UP TO DN 25MM | M | 550 |  | 0 | 1 1
ELE6515.05 | INSTALLATION OF ADPE FLEXIBLE METAL CONDUITS WITH DIAMETER >25 UP TO DN50MM | M | 700 |  | 0 | 1 1
ELE6515.07 | INSTALLATION OF ADPE FLEXIBLE METAL CONDUITS WITH DIAMETER >50 UP TO DN80MM | M | 300 |  | 0 | 1 1
ELE6523.11 | INSTALLATION OF COVERS FOR CABLE TRAYS WITH WIDTH OF 200MM, INCLUDING PREFABRICATION AND INSTALLATION OF CABLE TRAY SUPPORTS | M | 500 |  | 0 | 1 1
ELE6523.12 | INSTALLATION OF COVERS FOR CABLE TRAYS WITH WIDTH OF 400MM, INCLUDING PREFABRICATION AND INSTALLATION OF CABLE TRAY SUPPORTS | M | 200 |  | 0 | 1 1
ELE6523.13 | INSTALLATION OF COVERS FOR CABLE TRAYS WITH WIDTH OF 600MM, INCLUDING PREFABRICATION AND INSTALLATION OF CABLE TRAY SUPPORTS | M | 200 |  | 0 | 1 1
ELE6524.05 | INSTALLATION OF CABLE TRAYS FOR LOW LEV. SIGN. CABLES WITH WIDTH OF 200MM, INCLUDING PREFABRICATION AND INSTALLATION OF CABLE TRAY SUPPORTS | M | 500 |  | 0 | 1 1
ELE6524.06 | INSTALLATION OF CABLE TRAYS FOR LOW LEV. SIGN. CABLES WITH WIDTH OF 400MM, INCLUDING PREFABRICATION AND INSTALLATION OF CABLE TRAY SUPPORTS | M | 200 |  | 0 | 1 1
ELE6524.07 | INSTALLATION OF CABLE TRAYS FOR LOW LEV. SIGN. CABLES WITH WIDTH OF 600MM, INCLUDING PREFABRICATION AND INSTALLATION OF CABLE TRAY SUPPORTS | M | 200 |  | 0 | 1 1
ELE6611.31 | LAYING OF L.V. ORG. INS. CABLES WITH SECTION UP TO 5MM2 | M | 20000 |  | 0 | 1 1
ELE6611.32 | LAYING OF L.V. ORG. INS. CABLES WITH SECTION > 5 TO 10MM2 | M | 3500 |  | 0 | 1 1
ELE6611.33 | LAYING OF L.V. ORG. INS. CABLES WITH SECTION > 10 TO 25MM2 | M | 3500 |  | 0 | 1 1
ELE6611.34 | LAYING OF L.V. ORG. INS. CABLES WITH SECTION > 25 TO 50MM2 | M | 250 |  | 0 | 1 1
ELE6611.35 | LAYING OF L.V. ORG. INS. CABLES WITH SECTION > 50 TO 100MM2 | M | 1000 |  | 0 | 1 1
ELE6611.36 | LAYING OF L.V. ORG. INS. CABLES WITH SECTION > 100 TO 200MM2 | M | 200 |  | 0 | 1 1
ELE6622.01 | INSTALLATION OF CONN. OF CLASS. SCIII OR NC SINGLE SECT. CONDUCT. SECTION UP TO 5MM2 | PCS | 14500 |  | 0 | 1 1
ELE6622.02 | INSTALLATION OF CONN. OF CLASS. SCIII OR NC SINGLE SECT. CONDUCT. SECTION > 5 TO 10MM2 | PCS | 1300 |  | 0 | 1 1
ELE6622.03 | INSTALLATION OF CONN. OF CLASS. SCIII OR NC SINGLE SECT. CONDUCT. SECTION > 10 TO 25MM2 | PCS | 1300 |  | 0 | 1 1
ELE6622.04 | INSTALLATION OF CONN. OF CLASS. SCIII OR NC SINGLE SECT. CONDUCT. SECTION > 25 TO 50MM2 | PCS | 100 |  | 0 | 1 1
ELE6622.05 | INSTALLATION OF CONN. OF CLASS. SCIII OR NC SINGLE SECT. CONDUCT. SECTION > 50 TO 100MM2 | PCS | 400 |  | 0 | 1 1
ELE6622.06 | INSTALLATION OF CONN. OF CLASS. SCIII OR NC SINGLE SECT. CONDUCT. SECTION > 1000 TO 200MM2 | PCS | 100 |  | 0 | 1 1
SEC7615 | SUPPLY AND INSTALLATION OF POLYWATER SEAL OF CONDUITS WITH DIAMETER UP TO 2" | PCS | 400 |  | 0 | 1 1
ELE6721.01 | INSTALLATION OF CABINETS IN HOT DIP GALVANIZED STEEL SHEET | kg | 2500 |  | 0 | 1 1
ELE6723.01 | INSTALLATION OF TERMINALS FOR NORMAL CIRCUITS SECTION UP TO 6MM2 | PCS | 2000 |  | 0 | 1 1
ELE6723.02 | INSTALLATION OF TERMINALS FOR NORMAL CIRCUITS SECTION > 6 TO 16MM2 | PCS | 50 |  | 0 | 1 1
ELE6723.03 | INSTALLATION OF TERMINALS FOR NORMAL CIRCUITS SECTION > 16 TO 50MM2 | PCS | 50 |  | 0 | 1 1
ELE6723.04 | INSTALLATION OF TERMINALS FOR NORMAL CIRCUITS SECTION > 50 TO 70MM2 | PCS | 100 |  | 0 | 1 1
ELE6723.05 | INSTALLATION OF TERMINALS FOR NORMAL CIRCUITS SECTION > 70 TO 95MM2 | PCS | 50 |  | 0 | 1 1
ELE6811.02 | LAYING OF COPPER CORD OF SECTION UP TO 100MM2 | M | 2500 |  | 0 | 1 1
ELE6811.03 | LAYING OF COPPER CORD OF SECTION >100 TO 200MM2 | M | 200 |  | 0 | 1 1
ELE6811.23 | INSTALLATION OF JOINT WITH COMPR. CONNECTOR OF COPPER CONDUCTOR UP TO 200MM2 | PCS | 200 |  | 0 | 1 1
ELE6821.21 | INSTALLATION OF STEEL PLATE TERMINAL 40x4MM | M | 300 |  | 0 | 1 1
ELE6821.22 | SUPPLY AND INSTALLATION OF EQUIPOTENTIAL PLATES IN STAINLESS STEEL (BTM) AISI 304 | PCS | 50 |  | 0 | 1 1
ELE6821.35 | INSTALLATION OF COLLARS FOR EARTHING PIPELINES UP TO 6" | PCS | 14000 |  | 0 | 1 1
SEC7615 | INSTALLATION OF JUNCTION BOXES, INCLUDING TERMINALS AND CABLE GLAND | PCS | 100 |  | 0 | 1 1
SEC7617 | INSTALLATION OF OPTICAL ACUSTIC ALARM E2S | PCS | 400 |  | 0 | 1 1
SEC7618 | INSTALLATION OF EXTINGUISHING ON PANEL CSA | PCS | 400 |  | 0 | 1 1
SEC7522 | INSTALLATION OF PRESSURE SWITCH | PCS | 70 |  | 0 | 1 1
| PROVISIONAL SUM OF ELECTRICAL AND I&C WORKS AT UNIT RATES WORK ITEMS |  |  | EURO | 0 | 1 1
CIVIL WORKS AT UNIT RATES WORK ITEMS | [5 empty] | 1 1
E-CIV8060.11B | ANCHORING STEEL PLATES WELDED ON HERMETIC CARBON STEEL LINER, SURFACE FROM 0,0225 TO 0,04 M2 - EXCLUDING ONLY COATING AND SUPPLY OF STEEL PLATES (ERECTION INCLUDED) | PCS | 10 |  | 0 | 1 1
E-CIV8060.11C | ANCHORING STEEL PLATES WELDED ON HERMETIC CARBON STEEL LINER, SURFACE FROM 0,04 TO 0,0625 M2 - EXCLUDING ONLY COATING AND SUPPLY OF STEEL PLATES (ERECTION INCLUDED) | PCS | 1 |  | 0 | 1 1
E-CIV8060.11D | ANCHORING STEEL PLATES WELDED ON HERMETIC CARBON STEEL LINER, SURFACE FROM 0,0625 UP TO 0,1225 M2 - EXCLUDING ONLY COATING AND SUPPLY OF STEEL PLATES (ERECTION INCLUDED) | PCS | 3 |  | 0 | 1 1
E-CIV8060.21A | ANCHORING STEEL PLATES WELDED ON NOT HERMETIC CARBON STEEL LINER, SURFACE UP TO 0,0225 M2 - EXCLUDING ONLY COATING AND SUPPLY OF STEEL PLATES (ERECTION INCLUDED) | PCS | 9 |  | 0 | 1 1
E-CIV8060.21B | ANCHORING STEEL PLATES WELDED ON NOT HERMETIC CARBON STEEL LINER, SURFACE FROM 0,0225 TO 0,04 M2 - EXCLUDING ONLY COATING AND SUPPLY OF STEEL PLATES (ERECTION INCLUDED) | PCS | 263 |  | 0 | 1 1
E-CIV8060.21C | ANCHORING STEEL PLATES WELDED ON NOT HERMETIC CARBON STEEL LINER, SURFACE FROM 0,04 TO 0,0625 M2 - EXCLUDING ONLY COATING AND SUPPLY OF STEEL PLATES (ERECTION INCLUDED) | PCS | 76 |  | 0 | 1 1
E-CIV8060.21D | ANCHORING STEEL PLATES WELDED ON NOT HERMETIC CARBON STEEL LINER, SURFACE FROM 0,0625 UP TO 0,1225 M2 - EXCLUDING ONLY COATING AND SUPPLY OF STEEL PLATES (ERECTION INCLUDED) | PCS | 54 |  | 0 | 1 1
E-CIV8060.31A | ANCHORING STEEL PLATES WELDED ON STAINLESS STEEL LINER, SURFACE UP TO 0,0225 M2 - EXCLUDING ONLY COATING AND SUPPLY OF STEEL PLATES (ERECTION INCLUDED) | PCS | 3 |  | 0 | 1 1
E-CIV8060.31B | ANCHORING STEEL PLATES WELDED ON STAINLESS STEEL LINER, SURFACE FROM 0,0225 TO 0,04 M2 - EXCLUDING ONLY COATING AND SUPPLY OF STEEL PLATES (ERECTION INCLUDED) | PCS | 1 |  | 0 | 1 1
E-CIV8060.31C | ANCHORING STEEL PLATES WELDED ON STAINLESS STEEL LINER, SURFACE FROM 0,04 TO 0,0625 M2 - EXCLUDING ONLY COATING AND SUPPLY OF STEEL PLATES (ERECTION INCLUDED) | PCS | 113 |  | 0 | 1 1
E-CIV8060.31D | ANCHORING STEEL PLATES WELDED ON STAINLESS STEEL LINER, SURFACE FROM 0,0625 UP TO 0,1225 M2 - EXCLUDING ONLY COATING AND SUPPLY OF STEEL PLATES (ERECTION INCLUDED) | PCS | 14 |  | 0 | 1 1
E-CIV8058.01 | SUPPLY AND PREFABRICATION OF CARBON STEEL PLATES (RELATED TO E-CIV8051 AND E-CIV8060) | KG | 1000 |  | 0 | 1 1
E-CIV8058.02 | SUPPLY AND PREFABRICATION OF STAINLESS STEEL PLATES (RELATED TO E-CIV8051 AND E-CIV8060) | KG | 200 |  | 0 | 1 1
E-CIV8124.21 | SURFACE TREATMENT WITH M21 CYCLE (PREPARATION OF SURFACES EXCLUDED) | M2 | 500 |  | 0 | 1 1
E-CIV8124.41 | SURFACE TREATMENT WITH M41 CYCLE (PREPARATION OF SURFACES EXCLUDED) | M2 | 200 |  | 0 | 1 1
E-CIV8124.42 | SURFACE TREATMENT WITH M42 CYCLE (PREPARATION OF SURFACES INCLUDED) | M2 | 450 |  | 0 | 1 1
E-CIV8711.11 | FIRE SEALING OF PENETRATION OR OPENING IN MASONRY AND/OR IN CONCRETE WITH FIRE-RESISTANCE EI 90 BY FIRE-PROOF SYSTEM, OPENING AREA UP TO 0,015M2, ACCORDING TO THE PTS PNM34482413-01 | PCS | 100 |  | 0 | 1 1
E-CIV8711.12 | FIRE SEALING OF PENETRATION OR OPENING IN MASONRY AND/OR IN CONCRETE WITH FIRE-RESISTANCE EI 90 BY FIRE-PROOF SYSTEM, OPENING AREA , >0,015M2 UP TO 0,05M2, ACCORDING TO THE PTS PNM34482413-01 | PCS | 30 |  | 0 | 1 1
E-CIV8711.13 | FIRE SEALING OF PENETRATION OR OPENING IN MASONRY AND/OR IN CONCRETE WITH FIRE-RESISTANCE EI 90 BY FIRE-PROOF SYSTEM, OPENING AREA >0,05M2 UP TO 0,10M2, ACCORDING TO THE PTS PNM34482413-01 | PCS | 10 |  | 0 | 1 1
E-CIV8711.14 | FIRE SEALING OF PENETRATION OR OPENING IN MASONRY AND/OR IN CONCRETE WITH FIRE-RESISTANCE EI 90 BY FIRE-PROOF SYSTEM, OPENING AREA >0,10M2 UP TO 0,50M2, ACCORDING TO THE PTS PNM34482413-01 | PCS | 10 |  | 0 | 1 1
E-CIV8711.15 | FIRE SEALING OF PENETRATION OR OPENING IN MASONRY AND/OR IN CONCRETE WITH FIRE-RESISTANCE EI 90 BY FIRE-PROOF SYSTEM, OPENING AREA >0,50M2 UP TO 1,00M2, ACCORDING TO THE PTS PNM34482413-01 | PCS | 5 |  | 0 | 1 1
E-CIV8711.22 | EXTRA PRICE TO THE E-CIV8711.12 ITEM FOR FIRE-RESISTANCE EI 120 | PCS | 20 |  | 0 | 1 1
E-CIV8731.01 | CLOSURE OF OPENING WITH MORTAR AND/OR BRICKS IN MASONRY AND/OR CONCRETE STRUCTURES, OPENING AREA UP TO 0,1M2 AND THICKNESS OF WALL UP TO 300 MM | PCS | 200 |  | 0 | 1 1
| PROVISIONAL SUM OF CIVIL WORKS AT UNIT RATES WORK ITEMS |  |  | EURO | 0 | 1 1
OTHER ACTIVITIES AT UNIT RATES WORK ITEMS | [5 empty] | 1 1
LINT101.01 | INSTALLATION OF LABELLING FOR EXISTING PIPELINES, SUPPORTS, COMPONENTS, CONDUITS, CABLES AND VARIOUS ELECTRICAL EQUIPMENTS | PCS | 20000 |  | 0 | 1 1
M288132.01 | FLUID IDENTIFICATION BANDS FOR PIPELINES WITH DIAMATER UP TO 4" | PCS | 10000 |  | 0 | 1 1
M288132.02 | FLUID IDENTIFICATION BANDS FOR PIPELINES WITH DIAMATER > 4" TO 10" | PCS | 2500 |  | 0 | 1 1
M288141.01 | INDENTIFICATION BANDS FOR CONDUITS | M | 600 |  | 0 | 1 1
AD1001.01 | RED MARK-UP PREPARATION, ISSUING AND MANAGEMENT | PCS | 550 |  | 0 | 1 1
AD1002.01 | ITP'S PROTOCOL AVAILABILITY TO ACHIEVE PRE COST TEST/COS TEST AND HT | PCS | 50 |  | 0 | 1 1
AD1002.02 | CABLE REVISION REPORT ACCORDING TO 508/2009 | PCS | 50 |  | 0 | 1 1
AD1002.03 | ADDITIONAL ATD "B" , REQUIRED BY OWNER | PCS | 50 |  | 0 | 1 1
AD1002.04 | AS CONSTRUCTED | PCS | 550 |  | 0 | 1 1
AD1002.05 | EFD | PCS | 1200 |  | 0 | 1 1
| PROVISIONAL SUM OF OTHER ACTIVITIES AT UNIT RATES WORK ITEMS |  |  | EURO | 0 | 1 1
TIME RELATED CHARGE ITEMS OF LABOUR RATES AND EQUIPMENT RENTAL RATES | [5 empty] | 1 1
MEC.901102 | SENIOR DRAFTER | HOUR | 500 |  | 0 | 1 1
MEC.901104 | QUALITY ENGINEER | HOUR | 1000 |  | 0 | 1 1
MEC.901105 | SPECIALIZED WORKER | HOUR | 3000 |  | 0 | 1 1
MEC.901106 | SKILLED WORKER | HOUR | 8000 |  | 0 | 1 1
MEC.901107 | UNSKILLED WORKER | HOUR | 6000 |  | 0 | 1 1
NOL.902200 | SCAFFOLDING FOR THE FIRST MONTH OR MONTH FRACTION (WORK FLOORS INCLUDED) ASSEMBLY AND DISASSEMBLY INCLUDED | M3 | 3000 |  | 0 | 1 1
NOL.902201 | SCAFFOLDING FOR THE FOLLOWING MONTHS OR MONTH FRACTION (WORK FLOORS INCLUDED) ASSEMBLY AND DISASSEMBLY INCLUDED | M3 | 7000 |  | 0 | 1 1
NOL.902610 | MOBILE CRANE OF 6T | HOUR | 200 |  | 0 | 1 1
NOL.902710 | ELECTRIC WELDING MACHINE | HOUR | 3000 |  | 0 | 1 1
NOL.902718 | ELECTRIC DISK SANDER | HOUR | 5000 |  | 0 | 1 1
| PROVISIONAL SUM OF TIME RELATED CHARGE ITEMS |  |  | EURO | 0 | 1 1
| GRAND TOTAL |  |  | EURO | 0 | 1 1