## Cover
Requirement List from eDesigner
New-Gen Dorado Capability Evaluation
Huawei Technologies Co., Ltd.
2026-06-16

## Basic Requirements
No. | Parameter Name | Parameter Value | ParameterRemark
1 | Product Design
| Product Model | OceanStor Dorado 5000
| Software Version | V700R001C10
| Business Type | SAN
1.10 | Controller
| Number of Controllers | Dual Controllers
| Dual-controller Specs | NVMe, 512GB Cache
| Quotation Mode | Available Capacity + Deduplication & Compression
| SmartDedupe & SmartCompression License | Standard Edition (Per Set)
1.20 | Disk Configuration
| Disk Type | 7.68 TB SSD NVMe (Encryption)
| RAID Type | RAID-TP
| Number of Disks in a RAID Group | 25
| Hot Spare Policy | Low (1 disk)
| Number of Disks (SAN) | 26
| SAN Available Capacity (TiB) | 153.29
| Hot Spare Capacity (TiB) | 6.42
1.30 | Interface Module
1.3.1 | Controller Enclosure 1
| SAN Rate | 4 * 64Gb FC
| Number of SAN Cards | 2
| 25Gb RoCE SmartContainer Connect I/O Module (PCS) | 0
| Disk Configuration | 7.68TB NVMe SSD(7,Encryption Disk) : 26
| Smart NVMe Disk Enclosures | 0
| Enclosures per Loop | 1
| 100Gb RDMA I/O Module (QSFP28, for Back-End) (PCS) | 0
1.40 | Service
1.4.1 | SAN Service Model
| Performance Percent | 100%
| SAN Multipathing Software | Third-party Multipathing
| Application | Default Scenarios
| Data Reduction Ratio | 1
| Non-reducible Capacity (TiB) | 0
1.50 | Advanced Settings
1.5.1 | SAN Service Model
| Display Initial Performance?(Cannot be used as deliverable value) | No
| Sequence Read Ratio | 0%
| Sequence Write Ratio | 0%
| Read Hit Ratio | 0%
| Write Hit Ratio | 0%
| Latency | 1 ms
| Working Set (%) | 20.00%
| Value-added Feature | Not required
1.5.2 | SmartContainer-based Feature Evaluation
| SmartContainer-based Feature Evaluation | None
1.5.3 | Value-added Software
| SAN License Bundle (Including Thin,Snap,Replication,Clone,QoS,Erase,DME IQ,Virtualization,Metro,CDP,Multi-Tenant) | Yes
| NAS License Bundle (Including CIFS,NFS,NDMP,Thin,Snap,Replication,Clone,QoS,Erase,Metro,CDP,Lock,DME IQ,Audit,DNS,Move) | No
| Object License Bundle (Including S3,Thin,Snap,Clone,QoS,Erase,CDP,DME IQ,DNS) | No
| SAN Migration Service | No
| HyperEncryption License | No
2 | Product Capacity
2.10 | Product
| Product Type | OceanStor Dorado 5000
| Controllers | 2
| Dual-Controller Cache | 512GB
| Disk Type | NVMe
2.20 | Disk Capability
2.2.1 | Disk
| Available Capacity | 153.29 | TiB
| Number of Disks | 26x7.68TB NVMe SSD(7,Encryption Disk)
2.30 | Port Capability
2.3.1 | FC
| Number of FC Card Ports | 8
| FC Rate | 64G FC
3 | Capacity
3.10 | Available Capacity
| Available Capacity | 153.29 | TiB
3.1.1 | Physical Capacity
| Raw Capacity(TiB) | 181.60
| Hot Spare Capacity(TiB) | 6.42
3.1.2 | Logical Configuration
| Storage Pools | 1
| SAN RAID Type | 22D+3P
3.20 | Effective Capacity
3.2.1 | Effective Capacity
3.2.1.1 | Effective Capacity
| Effective Capacity | 153.29 | TiB
| E2E Reduction Ratio | E2E Reduction Ratio 1.0
| Savings | 0%
3.2.2 | Non-Reducing Capacity
| Reduction Ratio of Reducible Data | 1
| Non-reducible Capacity (TiB) | 0
3.2.3 | Capacity Ratio
| SAN Capacity Percentage | 100%
3.2.4 | Capacity
| Effective Capacity | 153.29,0.0,0.0 | TiB
| Available Capacity | 153.29,0.0,0.0 | TiB
| SAN | 100%
4 | SAN Service Model
4.10 | Parameter adjustment
| Service Type | Default
| Protocol | FC
| Size of IO Block | 8K
| Read Ratio | 70%
| Steady-State Performance | 411,301 | IOPS
| Steady-State Bandwidth | 3,213 | MB/s
| Latency | 1 | ms
| CPU Utilization Rate | 100.00%
Note: