## Summary
Items | Price per LM2500DLE Gas Generator (EUR)
Total Price for the Must Be Items (incl. transport) | 0
Total Price for the Optional Items | 0
Total Price for the Service Bulletins | 0
The Discount (%) aplicable to the GE Global Pricelist
GRAND TOTAL FOR LM2500 DLE GAS GENERATOR OF THE UNIT MID-LIFE OVERHAUL | 0

## Must Be Items
MUST BE ITEMS
ITEM | SPECIFICATION | Price per Unit of Measure |  |  |  | Quantity | Unit of Measure (UM) | Total Price per Item
|  | Work Cost | Material Cost | Consumables | Total
|  | (EUR) | (EUR) | (EUR) | (EUR) |  |  | (EUR)
A 1 | GAS GENERATOR TRANSPORTATION FROM THE SITE TO THE REPAIR SHOP |  |  |  | 0 |  |  | 0
A 1.1 | Transportation from the Site to CONTRACTOR's repair shop including insurance | N/A | N/A | N/A |  | 1 |  | 0
A 2 | "AS-RECEIVED" INSPECTION |  |  |  | 0 |  |  | 0
A 2.1 | Carry out "as-received" inspection, visually inspect condition and check for any missing components; provide photographic documentation |  |  |  | 0 | 1 | set | 0
A 3 | EXTERNAL WORKS |  |  |  | 0 |  |  | 0
A 3.1 | Dismount peripheral parts and components necessary to expose hot section |  |  |  | 0 | 1 | set | 0
A 4.6 | COMBUSTOR ASSEMBLY |  |  |  | 0 |  |  | 0
A 4.6.1 | Remove combustor |  |  |  | 0 | 1 | pcs | 0
A 4.6.2 | Clean and inspection |  |  |  |  | 1 | pcs
A 4.6.3 | Report on condition |  |  |  |  | 1 | pcs
A 4.6.4 | Combustor installation |  |  |  |  | 1 | pcs
A 4.7 | HP TURBINE ROTOR |  |  |  | 0 |  |  | 0
A 4.7.1 | Disassemble HP turbine rotor, incl. Stage 1 and 2 blades |  |  |  | 0 | 1 | set | 0
A 4.7.2 | Disassemble rotor to single parts and clean |  |  |  |  | 1 | set
A 4.7.3 | Repair forward shaft, rear shaft, discs, aft and forward labyrinth seals, pressure tube, pressure tube adapter, thermal shield, including silver renewal on adapter and coupling nut |  |  |  |  | 1 | set
A 4.7.4 | Report on condition |  |  |  |  | 1 | pcs
A 4.7.5 | Reassembly and grind cylindrically blades and ballance rotor, including consumables |  |  |  |  | 1 | set
A 4.8 | HPT STAGE 1 NOZZLE ASSEMBLY |  |  |  | 0 |  |  | 0
A 4.8.1 | Remove nozzles |  |  |  | 0 | 1 | set | 0
A 4.8.2 | Report on condition |  |  |  |  | 1 | pcs
A 4.8.3 | Install repaired nozzles, including consumables |  |  |  |  | 1 | set
A 4.9 | HPT STAGE 2 NOZZLE ASSEMBLY |  |  |  | 0 |  |  | 0
A 4.9.1 | Remove nozzle segments |  |  |  | 0 | 1 | set | 0
A 4.9.2 | Repair stage 1 shroud segments |  |  |  |  | 1 | set
A 4.9.3 | Repair stage 2 shroud segments |  |  |  |  | 1 | set
A 4.9.4 | Repair of nozzle support stage 2 |  |  |  |  | 1 | pcs
A 4.9.5 | Repair of interstage seal |  |  |  |  | 1 | set
A 4.9.6 | Report on condition |  |  |  |  | 1 | pcs
A 4.9.7 | Install repaired nozzle segments including grinding, including consumables |  |  |  |  | 1 | set
A 4.11 | FUEL SYSTEM (FUEL NOZZLES, FUEL MANIFOLDS, STAGING VALVES) |  |  |  | 0 |  |  | 0
A 4.11.1 | Clean and carry out flow test of complete set of fuel gas nozzles |  |  |  | 0 | 1 | set | 0
A 4.11.2 | Fuel manifolds inspection |  |  |  |  | 1 | set
A 4.11.3 | Staging valve inspection including test |  |  |  |  | 11 | pcs
A 4.11.4 | Report on condition |  |  |  |  | 1 | pcs
A 4.11.5 | Repair 3 cup fuel gas nozzle (complete set) |  |  |  |  | 1 | set
A 4.11.6 | Repair 2 cup fuel gas nozzle (complete set) |  |  |  |  | 1 | set
A 4.12 | INSPECTION / REPAIR OF AUXILIARY EQUIPMENT |  |  |  | 0 |  |  | 0
A 4.12.1 | L&S pumps cleaning, inspection and bench test |  |  |  | 0 | 1 | set | 0
A 4.12.3 | Dissasembly, clean and inspect following instrumentation: PS3 total pressure, T4.8 thermocouple probes and associated parts, T3 compressor discharge temperature sensors |  |  |  |  | 1 | set
A 4.12.4 | Report on condition |  |  |  |  | 1 | pcs
A 5 | REASSEMBLY |  |  |  | 0 |  |  | 0
A 5.1 | Reassemble components into modules |  |  |  | 0 | 1 | set | 0
A 5.2 | Reassemble modules |  |  |  |  | 1 | set
A 5.3 | Reinstall peripheral equipment |  |  |  |  | 1 | set
A 5.4 | Report from reassembly |  |  |  |  | 1 | pcs
A 6 | TEST / ACCEPTANCE RUN |  |  |  | 0 |  |  | 0
A 6.1 | Carry out test run / acceptance run of the unit to GE standards to ensure proper thermodynamic condition and mechanical functioning of the unit. Record measured values and parameters to GE standards and quote base line data. During test it is necessary to record as a minimum the following base line datas: P2 pressure, T2, T3 temperature, Specific fuel consumption, Exhaust gas temperature, Oil temperature on engine inlet and bearings discharge, Power (drive power or calculated power), Vibrations, VSV curve, HP recoup |  |  |  | 0 | 1 |  | 0
A 6.2 | Test report | [5 empty] | pcs
A 10 | TEST RUN AFTER GAS GENERATOR REINSTALLATION ON SITE |  |  |  | 0 |  |  | 0
A 10.1 | Gas Generator mapping / tuning (price per work) |  |  |  | 0 | 1 |  | 0
A 10.2 | Running test of gas generator after reinstallation on site under contractor's supervision (1 man / 1 day on site max. 12 hours including travel, accomodation and all other costs) |  |  |  | 0 | 1 | Contractor representative | 0
SUBTOTAL FOR THE MUST BE ITEMS WITHOUT THE GAS GENERATOR TRANSPORTATION FROM THE SITE TO THE REPAIR SHOP AND BACK | [7 empty] | 0
GRAND TOTAL FOR THE MUST BE ITEMS INCLUDING THE GAS GENERATOR TRANSPORTATION FROM THE SITE TO THE REPAIR SHOP AND BACK | [7 empty] | 0
NOTES:
1 | Part numbers are only for component identification.
2 | All prices specified herein are considered per one LM2500DLE Gas Generator, free of VAT and any custom fee applicable in the Slovak Republic but including any other taxes as applicable in the location of the repair shop.
3 | The use of OEM parts is mandatory. Repair has to be performed according to the IRM by authorizes supplier.

## Optional Items
OPTIONAL ITEMS
ITEM | SPECIFICATION | Price per Unit of Measure |  |  |  | Quantity | Unit of Measure (UM) | Weight of item on total price (%) | Total Price per Item
|  | Work Cost | Material Cost | Consumables | Total
|  | (EUR) | (EUR) | (EUR) | (EUR) | (UM) |  |  | (EUR)
A 3 | EXTERNAL WORKS |  |  |  | 0 |  |  |  | 0
A 3.2 | Dismount peripheral parts and components and disassemble gas generator into single modules. |  |  |  | 0 | 1 | set |  | 0
A 3.3 | Dismount Lube and scavenge oil pipings, cooling air pipings and sealing air pipings |  |  |  | 0 | 1 | set |  | 0
A 3.4 | Dismount Lube and scavenge pump and manifold |  |  |  | 0 | 1 | set |  | 0
A 3.5 | Dismount VSV system components (actuator cylinder and rod assembly) including flexible piping |  |  |  | 0 | 1 | set |  | 0
A 3.6 | Dismount Thermocouples |  |  |  | 0 | 1 | set |  | 0
A 4.1 | INLET GEARBOX AND ACCESSORY GEARBOX |  |  |  | 0 |  |  |  | 0
A 4.1.1 | Inlet Gearbox Disassemble, clean and inspect gearbox parts |  |  |  | 0 | 1 | set |  | 0
A 4.1.2 | Remove gears and bearings |  |  |  | 0 | 1 | set |  | 0
A 4.1.3 | Check parts for thermal growth |  |  |  | 0 | 1 | set |  | 0
A 4.1.4 | Report on condition |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.5 | Accessories-Gearbox - removal of pads incl. bearing and seals, cleaning, visual inspection, perform flushing of AGB and IGB housing incl. pressure test |  |  |  | 0 | 1 | set |  | 0
A 4.1.6 | Repair IGB housing 9009M43G10 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.7 | Repair gearshaft bevel radial 9609M89P11 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.8 | Repair gearshaft L14022G09 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.9 | Repair ACC-IGB housing L21391G07 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.10 | Repair Moungting - IGB bracket L21418G01 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.11 | Hydraulic pump and variable stator vane servovalve refurbishment L44569P38 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.12 | Air oil separator refurbishment |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.13 | Repair carbon flanged oil seal 9009M39P01 |  |  |  | 0 | 2 | pcs |  | 0
A 4.1.14 | Repair flanged oil seal 9601M73P04 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.15 | Repair seal mating ring 9634M85P01 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.16 | Repair seal mating ring 9634M85P06 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.17 | Repair seal mating ring 9634M85P08 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.18 | Replacement of Bearing, annular ball - 9699M09P02 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.19 | Replacement of Bearing, duplex thrust ball - 9600M76P09 |  |  |  | 0 | 2 | pcs |  | 0
A 4.1.20 | Replacement of Bearing, roller - 9699M04P02 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.21 | Replacement of Bearing, annular ball - 9699M11P02 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.22 | Replacement of Bearing, roller cylindrical - 9600M91P06 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.23 | Replacement of Bearing, duplex ball - 9009M45P03 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.24 | Replacement of Bearing, roller - 9699M14P02 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.25 | Replacement of Bearing, annular ball - 9601M01P06 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.26 | Replacement of Bearing, annular ball - 9699M06P02 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.27 | Replacement of Bearing, roller cylindrical - 9699M15P02 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.28 | Replacement of Bearing, annular ball - 9699M12P01 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.29 | Replacement of Bearing, ball - 9699M09P03 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.30 | Replacement of Bearing, roller cylindrical - 9699M03P02 |  |  |  | 0 | 4 | pcs |  | 0
A 4.1.31 | Replacement of Bearing, cylindrical roller - 9600M78P03 |  |  |  | 0 | 1 | pcs |  | 0
A 4.1.32 | Replacement of Bearing, ball thrust duplex - 1962M49P01 |  |  |  | 0 | 1 | pcs |  | 0
A 4.2 | COMPRESSOR FRONT FRAME |  |  |  | 0 |  |  |  | 0
A 4.2.1 | Disassemble casing |  |  |  | 0 | 1 | set |  | 0
A 4.2.2 | Remove bearings and labyrinth seals of bearing no. 3 |  |  |  | 0 | 1 | set |  | 0
A 4.2.3 | Clean parts |  |  |  | 0 | 1 | set |  | 0
A 4.2.4 | Inspect bearings and labyrinth seals, check dimensions and record in protocol |  |  |  | 0 | 1 | set |  | 0
A 4.2.5 | Report on condition |  |  |  | 0 | 1 | pcs |  | 0
A 4.2.6 | Assembly and carry out pressure test of sump and tubes |  |  |  | 0 | 1 | set |  | 0
A 4.2.7 | No. 3 Air/Oil Seal, Teflon Repair |  |  |  | 0 | 1 | pcs |  | 0
A 4.2.8 | Perform basic repairs |  |  |  | 0 | 1 | set |  | 0
A 4.2.9 | Supply bearing no. 3 and consumables |  |  |  | 0 | 1 | set |  | 0
A 4.2.10 | Sermetal Repair of Front Frame (renew of protective coating) |  |  |  | 0 | 1 | pcs |  | 0
A 4.2.11 | Replacement of Compressor Stationary Air Seal, L47033G05 |  |  |  | 0 | 1 | pcs |  | 0
A 4.2.12 | No.3 Air/Oil seal teflon-new |  |  |  | 0 | 1 | pcs |  | 0
A 4.2.13 | Repair oil manifold assy |  |  |  | 0 | 1 | set |  | 0
A 4.2.14 | Repair tube assy |  |  |  | 0 | 1 | set |  | 0
A 4.2.15 | Repair compressor front frame assy L50022G03 |  |  |  | 0 | 1 | pcs |  | 0
A 4.2.16 | Repair of Bearing Housing Brg#3 L31710G01 |  |  |  | 0 | 1 | pcs |  | 0
A 4.2.17 | Repair of Seal Support Brg#3 9049M38G06 |  |  |  | 0 | 1 | pcs |  | 0
A 4.2.18 | Repair of Stationary Air -Oil Seal Brg#3 L47033G05 |  |  |  | 0 | 1 | pcs |  | 0
A 4.3 | COMPRESSOR STATOR CASING |  |  |  | 0 |  |  |  | 0
A 4.3.1 | Visual inspection of HPC Stator front assy and HPC Stator rear assy, IGV, Stg.0-6, bushing inspection, cleaning |  |  |  | 0 | 1 | set |  | 0
A 4.3.2 | Clean and inspect vanes in assembled condition, minor blend repair on condition |  |  |  | 0 | 1 | set |  | 0
A 4.3.3 | Report on condition |  |  |  | 0 | 1 | pcs |  | 0
A 4.3.4 | Function-test of VSV system (actuator, torque shaft assy, actuation rings and links, bridges, bushings, etc.) |  |  |  | 0 | 1 | set |  | 0
A 4.3.5 | Perform basic repairs to guide vanes on each stage |  |  |  | 0 | 1 | set |  | 0
A 4.3.6 | Replace bushings of variable guide vane bearings on each stage |  |  |  | 0 | 1 | set |  | 0
A 4.3.7 | Apply new RUB coating to front halves of casing |  |  |  | 0 | 1 | set |  | 0
A 4.3.8 | Apply new RUB coating to rear halves of casing |  |  |  | 0 | 1 | set |  | 0
A 4.3.9 | Repair compressor stator assy and compressor rear stator assy |  |  |  | 0 | 1 | set |  | 0
A 4.3.10 | Replacement of Hot Rod Bearing 1336M28P01 |  |  |  | 0 | 32 | pcs |  | 0
A 4.3.11 | Repair of VSV system |  |  |  | 0 | 1 | set |  | 0
A 4.4 | HPC ROTOR ASSEMBLY |  |  |  | 0 |  |  |  | 0
A 4.4.1 | Clean and visual inspect blades in assembled condition |  |  |  | 0 | 1 | set |  | 0
A 4.4.2 | Remove and dynamically balance rotor |  |  |  | 0 | 1 | pcs |  | 0
A 4.4.3 | Check for concentricity and check balancing |  |  |  | 0 | 1 | pcs |  | 0
A 4.4.4 | Report on condition |  |  |  | 0 | 1 | pcs |  | 0
A 4.4.5 | Check outside diameter of each compressor stage prior to disassembly |  |  |  | 0 | 1 | set |  | 0
A 4.4.6 | Perform basic repairs to blades on each stage |  |  |  | 0 | 1 | set |  | 0
A 4.4.7 | Measure the outside diameter of rotor spool and discs |  |  |  | 0 | 1 | set |  | 0
A 4.4.8 | Disassembly into piece parts, clean and inspect and perform non-destructive test for cracks |  |  |  | 0 | 1 | set |  | 0
A 4.4.9 | New RUB coating between the stages |  |  |  | 0 | 1 | set |  | 0
A 4.4.10 | Repair of Air Duct L50511G02 |  |  |  | 0 | 1 | pcs |  | 0
A 4.5 | COMPRESSOR REAR FRAME |  |  |  | 0 |  |  |  | 0
A 4.5.1 | Disassemble and remove bearing no. 4 |  |  |  | 0 | 1 | set |  | 0
A 4.5.2 | Clean and inspect bearing |  |  |  | 0 | 1 | set |  | 0
A 4.5.3 | Check all parts, incl. acoustic baffles and casing for cracks |  |  |  | 0 | 1 | set |  | 0
A 4.5.4 | Report on condition |  |  |  | 0 | 1 | pcs |  | 0
A 4.5.5 | Assembly and carry out pressure test of sump and tubes |  |  |  | 0 | 1 | set |  | 0
A 4.5.6 | Supply new bearing 4B and consumables |  |  |  | 0 | 1 | set |  | 0
A 4.5.7 | Supply new bearing 4R and consumables |  |  |  | 0 | 1 | set |  | 0
A 4.5.8 | Repair split nut 4B splined 9346M80P02 |  |  |  | 0 | 1 | pcs |  | 0
A 4.5.9 | Repair bearing housing 4B 9646M10P03 |  |  |  | 0 | 1 | pcs |  | 0
A 4.2.10 | Repair compressor rear frame baffle L47278G02 |  |  |  | 0 | 1 | pcs |  | 0
A 4.5.11 | Repair inner baffle L47609G01 |  |  |  | 0 | 1 | pcs |  | 0
A 4.5.12 | Replacement of acoustic baffle |  |  |  | 0 | 12 | pcs |  | 0
A 4.5.13 | Repair igniter plug adapter 9397M20P03 |  |  |  | 0 | 1 | pcs |  | 0
A 4.5.14 | Repair no. 4 bearing split spline plain nut 9346M79G05 |  |  |  | 0 | 1 | pcs |  | 0
A 4.5.15 | Repair of Aft Stationary Air Seal Brg 4R 9693M20G11 |  |  |  | 0 | 1 | pcs |  | 0
A 4.5.16 | Repair of Stationary Oil Seal Brg 4B 9693M49P06 |  |  |  | 0 | 1 | pcs |  | 0
A 4.5.17 | Repair of Stationary Oil Seal Brg 4R 9693M48P05 |  |  |  | 0 | 1 | pcs |  | 0
A 4.5.18 | Repair of Rotating Out Air Seal Brg 4 9693M02P04 |  |  |  | 0 | 1 | pcs |  | 0
A 4.5.19 | Repair of Aft Stationary Air Seal Brg 4R 9686M44P03 |  |  |  | 0 | 1 | pcs |  | 0
A 4.5.20 | Repair of Stationary Air Seal Brg 4R L44540G01 |  |  |  | 0 | 1 | pcs |  | 0
A 4.5.21 | Repair of 4R bearing rotating vent air seal 9693M86P02 |  |  |  | 0 | 1 | pcs |  | 0
A 4.5.22 | Repair of Compressor Rear Frame L47231G03 |  |  |  | 0 | 1 | pcs |  | 0
A 4.5.23 | Repair of Oil Tube L14469G08 |  |  |  | 0 | 1 | pcs |  | 0
A 4.7 | HP TURBINE ROTOR |  |  |  | 0 |  |  |  | 0
A 4.7.6 | Blade retainer Stg. 2 repair |  |  |  | 0 | 1 | pcs |  | 0
A 4.7.7 | Blade retainer Stg. 2 replacement |  |  |  | 0 | 1 | pcs |  | 0
A 4.8 | HPT STAGE 1 NOZZLE ASSEMBLY |  |  |  | 0 |  |  |  | 0
A 4.8.3 | HPT nozzle support stage 1 repair |  |  |  | 0 | 1 | pcs |  | 0
A 4.10 | TURBINE MIDFRAME ASSEMBLY |  |  |  | 0 |  |  |  | 0
A 4.10.1 | Remove frame |  |  |  | 0 | 1 | pcs |  | 0
A 4.10.2 | Remove bearing no. 5 and labyrinth seals |  |  |  | 0 | 1 | set |  | 0
A 4.10.3 | Check bearing and labyrinth seals, dimensional check and report |  |  |  | 0 | 1 | pcs |  | 0
A 4.10.4 | Check critical frame areas for cracks |  |  |  | 0 | 1 | pcs |  | 0
A 4.10.5 | Frame dimensional check and report |  |  |  | 0 | 1 | pcs |  | 0
A 4.10.6 | Report on condition |  |  |  | 0 | 1 | pcs |  | 0
A 4.10.7 | Assembly and carry out pressure test of sump and tubes |  |  |  | 0 | 1 | set |  | 0
A 4.10.8 | Removal of Sump housing and related tubes,cleaníng and inspection, inspection of outer case, flushing of sump and related tubes, visual inspection of exposed area |  |  |  | 0 | 1 | set |  | 0
A 4.10.9 | Frame Repair |  |  |  | 0 | 1 | set |  | 0
A 4.10.10 | New bearing no. 5 and consumables |  |  |  | 0 | 1 | set |  | 0
A 4.10.11 | Repair cool & vent air seal assy 9633M62G32 |  |  |  | 0 | 1 | pcs |  | 0
A 4.10.12 | Repair HPT adapter assy L44766G02 |  |  |  | 0 | 1 | pcs |  | 0
A 4.10.13 | Repair aft cover L25158G01 |  |  |  | 0 | 1 | pcs |  | 0
A 4.10.14 | Repair bearing no. 5 inner race round plain nut 9671M28P01 |  |  |  | 0 | 1 | pcs |  | 0
A 4.10.15 | Repair of Stationary Air-Oil Seal Brg#5 L24587G03 |  |  |  | 0 | 1 | pcs |  | 0
A 4.11 | FUEL SYSTEM (FUEL NOZZLES, FUEL MANIFOLDS, STAGING VALVES) |  |  |  | 0 |  |  |  | 0
A 4.11.5 | New 3 cup fuel gas nozzle (unit price) [difference between new part and repair] |  |  |  | 0 | 1 | pcs |  | 0
A 4.11.7 | New 2 cup fuel gas nozzle (unit price) [difference between new part and repair] |  |  |  | 0 | 1 | pcs |  | 0
A 4.11.9 | Repair of staging valve (unit price) |  |  |  | 0 | 1 | pcs |  | 0
A 4.11.10 | Replacement of staging valve (unit price) |  |  |  | 0 | 1 | pcs |  | 0
A 4.11.11 | Replacement of fuel hose L54129P01 |  |  |  | 0 | 1 | pcs |  | 0
A 4.12 | INSPECTION/REPAIR OF AUXILIARY EQUIPMENT |  |  |  | 0 |  |  |  | 0
A 4.12.2 | VSV Control cleaning, inspection and bench test |  |  |  | 0 | 1 | set |  | 0
A 4.12.5 | L&S pumps repair |  |  |  | 0 | 1 | set |  | 0
A 4.12.6 | VSV Control repair including VSV bridges and bushings |  |  |  | 0 | 1 | set |  | 0
A 5 | REASSEMBLY |  |  |  | 0 |  |  |  | 0
A 5.5 | Assembly of HPC rotor |  |  |  | 0 | 1 | set |  | 0
A 9 | INSTALLATION ON SITE |  |  |  | 0 |  |  |  | 0
A 9.1 | Contractor representative supervision during gas generator installation activities on site (1man/1 day on site max 12 hours including travel, accomodation and all other costs). Installation will be carried out by Customer. |  |  |  | 0 | 1 | Contractor representative |  | 0
A 9.2 | Each extra day for installation supervision |  |  |  | 0 | 1 | day |  | 0
A 10 | TEST RUN AFTER GAS GENERATOR REINSTALLATION ON SITE |  |  |  | 0 |  |  |  | 0
A 10.3 | Each extra day for running test supervision (1 man / 1 day on site max. 12 hours including accomodation and all other costs) |  |  |  | 0 | 1 | day |  | 0
B 1 | REPAIR OF COMBUSTOR |  |  |  | 0 |  |  |  | 0
B 1.1 | Perform repair on condition (the maximal extent of Combustor repair) |  |  |  | 0 | 1 | pc |  | 0
B 2 | REPAIR OF HPT BLADES AND NOZZLES |  |  |  | 0 |  |  |  | 0
B 2.1 | Repair of stage 1 blade (unit price) |  |  |  | 0 | 88 | pcs |  | 0
B 2.2 | Reapir of stage 2 blade (unit price) |  |  |  | 0 | 90 | pcs |  | 0
B 2.3 | Repair of stage 1 nozzles (unit price) |  |  |  | 0 | 32 | pcs |  | 0
B 2.4 | Repair of stage 2 nozzles (unit price) |  |  |  | 0 | 33 | pcs |  | 0
C 1 | REFURBISHED COMBUSTOR |  |  |  | 0 |  |  |  | 0
C 1.1 | Refurbished combustor (rotable) |  |  |  | 0 | 1 | pcs |  | 0
C 2 | NEW COMBUSTOR |  |  |  | 0 |  |  |  | 0
C 2.1 | New combustor |  |  |  | 0 | 1 | pcs |  | 0
C 3 | REFURBISHED BLADES AND NOZZLES UNIT PRICES |  |  |  | 0 |  |  |  | 0
C 3.1 | Refurbished blade HPTR1 |  |  |  | 0 | 88 | pcs |  | 0
C 3.2 | Refurbished blade HPTR2 |  |  |  | 0 | 90 | pcs |  | 0
C 3.3 | Refurbished nozzle HPTS1 |  |  |  | 0 | 32 | pcs |  | 0
C 3.4 | Refurbished nozzle HPTS2 |  |  |  | 0 | 33 | pcs |  | 0
C 4 | NEW BLADES AND NOZZLES UNIT PRICES |  |  |  | 0 |  |  |  | 0
C 4.1 | New blade HPTR1 |  |  |  | 0 | 88 | pcs |  | 0
C 4.2 | New blade HPTR2 |  |  |  | 0 | 90 | pcs |  | 0
C 4.3 | New nozzle HPTS1 |  |  |  | 0 | 32 | pcs |  | 0
C 4.4 | New nozzle HPTS2 |  |  |  | 0 | 33 | pcs |  | 0
SUBTOTAL FOR THE OPTIONAL ITEMS FOR ONE (1) GAS GENERATOR WITHOUT THE CONTAINER, CLEANING AND MINOR REPAIR | [8 empty] | 0
| CONTAINER CLEANING AND MINOR REPAIR |  |  |  | 0 |  |  |  | 0
| Container Cleaning and Minor Repair |  |  |  | 0 | 1 | pcs |  | 0
GRAND TOTAL FOR THE OPTIONAL ITEMS FOR ONE (1) GAS GENERATOR INCLUDING THE CONTAINER CLEANING AND MINOR REPAIR | [8 empty] | 0
NOTES:
1 | The Optional Items include actions to be performed upon the engine condition or actions that will have to be performed in any case and that are alternative to other actions dedicated to the same purpose, and also spare parts for scrap replacement and consumables related to such actions.
2 | Part numbers are only for component identification.
3 | All prices specified herein are considered per one LM2500+ DLE Gas Generator, free of VAT and any custom fee applicable in the Slovak Republic but including any other taxes as applicable in the location of the repair shop.
4 | Approval by EUSTREAM is necessary prior to implementing any OPTIONAL item.
5 | The Discount (%) aplicable to the GE Global Pricelist for the parts that are not priced in this document should be specified in the respective lines herein below. The discounts specifcied therein shall be applied to the prices for relevant parts, if used within the overhaul for replacement of parts, if such replacement is requested, provided that the respective parts are not listed in the pricelist herein above.
6 | The use of OEM parts is mandatory. Repair has to be performed according to the IRM by authorizes supplier.
Discount (%) aplicable to the GE Global Pricelist

## Service Bulletins
SERVICE BULLETINS - optional
ITEM | SPECIFICATION | Price per Unit of Measure
|  | Work Cost | Material Cost | Consumables | Total
|  | (EUR) | (EUR) | (EUR) | (EUR)
227 R1 | No. 4 Bearing Rotating Air/Oil Seal Improvement |  |  |  | 0
232 | HPC CDP Seal - Thin Ribbon Honeycomb |  |  |  | 0
233 | MANDATORY FOR ALL EUROPEAN UNION COUNTRIES - Pressure Equipment Directive Compliance |  |  |  | 0
236 R2 | LM2500 HPCR Stage 16 Blade Improvement |  |  |  | 0
239 | Improved Combustor Acoustic Baffles |  |  |  | 0
243 R3 | Turbine Mid Frame Strut No. 6 and Strut No. 2 Oval Sleeve and Rub Button Weld Improvement |  |  |  | 0
244 | Turbine Mid Frame Strut No. 6 Tube Wear |  |  |  | 0
254 R3 | HPT Nozzle Cooling Air Tube Improvement |  |  |  | 0
259 | Compressor Rear Frame Borescope Plug Safety Cable Attachment |  |  |  | 0
265 | Introduction of New Ignition Exciter with Low Radiation |  |  |  | 0
272 R1 | LM2500 HPCR Stage 15 Blade Platform Circumferential Gap Increase |  |  |  | 0
277 | Improved Compressor Rotor Air Duct |  |  |  | 0
278 | LM2500 Compressor Rear Frame Bafﬂe Improvement |  |  |  | 0
279 | Introduction of New Ignition Exciter with No Radiation |  |  |  | 0
283 | New Bleed Air Valve with Improved Reliability |  |  |  | 0
286 | High Pressure Compressor Stages 12 through 14 Blade Tip Clearance Increase |  |  |  | 0
292 | Introduction of LM2500 DLE Xtend™ Kit with De-swirler |  |  |  | 0
293 | LM2500 DLE Integrated Electronic Control Variable Stator Vane Kit |  |  |  | 0
297 | IGB Spline Forward Oil Dam Insert and Spline Adapter Introduction (Gas Generators with HSPT) |  |  |  | 0
304 R2 | Introduction of No. 4B Bearing with Nitride Hardening |  |  |  | 0
305 R2 | Introduction of No. 5R Bearing with Nitride Hardening |  |  |  | 0
309 R2 | Introduction of IGB Bearing with Nitride Hardening |  |  |  | 0
GRAND TOTAL FOR THE SERVICE BULLETINS FOR GAS GENERATOR |  |  |  |  | 0
NOTES:
1 | Part numbers are only for component identification.
2 | All prices specified herein are considered per one LM2500DLE Gas Generator, free of VAT and any custom fee applicable in the Slovak Republic but including any other taxes as applicable in the location of the repair shop.
3 | Approval by EUSTREAM is necessary prior to implementing any of the SERVICE BULLETINS.